TOC/TIC Standards

- Premium Range

Summary of Features & Benefits:

Commercial Benefits

• Extensive range (500ppb to 20,000ppm /0.5mg/l

to 20,000mg/l)

• Presented in single - use glass vials

• Extended shelf life

• Ready to Use

• Offered as single vials or convenient kit format

Technical Benefits

• In accordance with USP <643> and <1051> guidelines

• Consistency of product - Independent, Traceable,

Certified

• Certificates of Analysis and Safety Data Sheets available

online

• Extremely high specification and purity

• Manufactured in a cleanroom environment

• Vials are manufactured, cleaned and leached specifically

for low level TOC standards

• Products manufactured from Ultra-Pure Water,

produced by a special proprietary process

• ISO/IEC 17025 Accreditation 500µg/L to 50mg/l (INAB

Ref:264T)

Reagecon manufactures a range of Total Organic Carbon (TOC) and Total

Inorganic Carbon (TIC) Standards for ease of use when calibrating all types of

TOC analysers, irrespective of brand. All of our TOC standards are manufactured

using high purity raw materials in accordance with USP <1051> and <643>

guidelines. These products are prepared gravimetrically on a weight/weight

basis. Both solute (salts) and solvent (water) are weighed on a balance calibrated

by Reagecon engineers using OIML traceable weights. Reagecon holds ISO/IEC

17025 accreditation for calibration of laboratory balances (INAB Ref:265C). The

resulting Balance Certificate of Calibration is issued in accordance with the

requirements of ISO/IEC 17025. The TOC / TIC of the standard is verified using

a high performance calibrated TOC analyser. The calibration of this instrument

involves the use of high purity ISO Guide 34 accredited TOC standards similar

in TOC value to the products listed in the following tables.

147

TOC/TIC Standards

Product No.

RTOCW

RTOCRs

RTOCRss

RTOCK08

RTOCK09

RTOCK10

RTOCK10a

RTOCK11

RTOCK12

RTOCK30

RTOCK13

RTOCK14

RTOCK15

RTOCK16

RTOCK17

RTOC125B

RTOC125S

RTOCK18

RTOC1000K

RTOCK19

RTOCK20

RTOCK01

RTOC200

RTOC800

RTICN01

RTICN02

RTICN03

RTICN04

RTICN09

RTICN05

RTICN06

RTICN07

RTICN08

RTIC1000

RTOCS01

RTOCS02

RTOCS03

RTOCS04

RTOCS05

RTOCS06

RTOCS07

RTOCS08

RTOCS09

RTOCS10

RTOCS11

Description

USP Reagent Water Rw

USP Standard Sucrose Solution Rs (0.5mg/L C)

USP System Suitability Solution 1, 4-Benzoquinone (0.5mg/L C)

TOC Standard 0.5mg/L C as Potassium Hydrogen Phthalate

TOC Standard 1.0mg/L C as Potassium Hydrogen Phthalate

TOC Standard 1.5mg/L C as Potassium Hydrogen Phthalate

TOC Standard 1.5mg/L C as Potassium Hydrogen Phthalate

acidified with Hydrochloric Acid

TOC Standard 10mg/L C as Potassium Hydrogen Phthalate

TOC Standard 25mg/L C as Potassium Hydrogen Phthalate

TOC Standard 30 mg/L C as Potassium Hydrogen Phthalate

TOC Standard 50mg/L C as Potassium Hydrogen Phthalate

TOC Standard 5mg/L C as Potassium Hydrogen Phthalate

TOC Standard 2.5mg/L C as Potassium Hydrogen Phthalate

TOC Standard 4mg/L C as Potassium Hydrogen Phthalate

TOC Standard 100mg/L C as Potassium Hydrogen Phthalate

TOC Standard 125ppm C as 1,4-Benzoquinone

TOC Standard 125ppm C as Sucrose

TOC Standard 1,000mg/L C as Potassium Hydrogen Phthalate

TOC Standard 1,000ppm C as Potassium Hydrogen Phthalate

TOC Standard 5,000mg/L C as Potassium Hydrogen Phthalate

TOC Standard 20,000mg/L C as Potassium Hydrogen Phthalate

TOC Standard 50ppb C as Potassium Hydrogen Phthalate

TOC Standard 200ppb C as Sucrose

TOC Standard 800ppb C as Sucrose

TIC Standard 0.5mg/L as Sodium Carbonate

TIC Standard 1.0mg/L as Sodium Carbonate

TIC Standard 1.5mg/L as Sodium Carbonate

TIC Standard 2mg/L as Sodium Carbonate

TIC Standard 4mg/L as Sodium Carbonate

TIC Standard 5mg/L as Sodium Carbonate

TIC Standard 10mg/L as Sodium Carbonate

TIC Standard 25mg/L as Sodium Carbonate

TIC Standard 50mg/L as Sodium Carbonate

TIC Standard 1000mg/L as Sodium Carbonate

TOC Standard 0.5mg/L C as Sucrose

TOC Standard 1.0mg/L C as Sucrose

TOC Standard 2mg/L C as Sucrose

TOC Standard 5mg/L C as Sucrose

TOC Standard 10mg/L C as Sucrose

TOC Standard 25mg/L C as Sucrose

TOC Standard 50mg/L C as Sucrose

TOC Standard 0.25mg/L C as Sucrose

TOC Standard 0.75mg/L C as Sucrose

TOC Standard 4mg/L C as Sucrose

TOC Standard 500mg/L C as Sucrose

Pack Size

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

35ml

148

TOC/TIC Standards

Product No.

RTOCN01

RTOCN02

RTOCM01

RTOCWa

RTOCRsa

RTOCRssa

Description

TOC Standard 50mg/L C as Nicotinamide

TOC Standard 0.5mg/L C as Nicotinamide

TOC Standard 0.5mg/L C as Methanol

USP Reagent Water Rw acidified with HCl

USP Standard Sucrose Solution Rs (0.5mg/L C) acidified with HCl

USP System Suitability Solution 1,4-Benzoquinone (0.5mg/L C)

acidified with HCl

USP System Suitability Set consisting of 1 x 40ml vial of Reagent Water

(RTOCW), Standard Solution (RTOCRs) and Suitability Solution (RTOCRss)

2 x USP System Suitability Set consisting of 1 x 40ml vial of Reagent Water

(RTOCW), Standard Solution (RTOCRs) and Suitability Solution (RTOCRss).

Delivered at six month intervals

4 x USP System Suitability Sets, consisting of: 1 x 40ml vial of Reagent Water

(RTOCW), Standard Solution (RTOCRs) and Suitability Solution (RTOCRss).

Delivered at three month intervals

12 x (USP System Suitability Set consisting of 1 x 40ml vial of Reagent Water

(RTOCW), Standard Solution (RTOCRs) and Suitability Solution (RTOCRss).

Delivered at monthly intervals

52 x (USP System Suitability Set consisting of 1 x 40ml vial of Reagent Water

(RTOCW), Standard Solution (RTOCRs) and Suitability Solution (RTOCRss).

Delivered at 2 weekly intervals

260 x USP System Suitability Set consisting of 1 x 40ml vial of Reagent Water

(RTOCW), Standard Solution (RTOCRs) and Suitability Solution (RTOCRss).

Delivered at 2 weekly intervals

Carbon Calibration Set 1-50mg/L C consisting of 1 x 40ml vial each of

calibration blank (RTOCW), TOC Standards 1(RTOCK09), 5 (RTOCK14), 10

(RTOCK11), 25 (RTOCK12), 50 (RTOCK13) mg/L C as Potassium Hydrogen

Phthalate, TIC Standards 1mg/L (RTICN02), 5mg/L (RTICN05), 10mg/L

(RTICN06), 25mg/L (RTICN07), 50mg/L (RTICN08) C as Sodium Carbonate

1mg C/L Carbon Standard Set consisting of 1 x 40ml vial each of calibration

blank (ROTCW), 1mg/L (RTOCK09) C TOC as Potassium Hydrogen Phthalate and

1 mg/L (RTICN02) C TIC as Sodium Carbonate

1mg C/L Carbon Verification Set consisting of 1 x 40ml vial each of calibration

blank (ROTCW), 1mg/L (RTOCS02) C TOC as Sucrose and 1 mg/L (RTICN02) C

TIC as Sodium Carbonate

1mg C/L Carbon Standard Set and Verification Set consisting of 1 x RC120002

and 1 x RC120003

5mg C/L Carbon Standard Set consisting of 1 x 40ml vial each of calibration

blank (RTOCW), 5mg/L (RTOCK14) C TOC as Potassium Hydrogen Phthalate and

5 mg/L (RTCIN05) C TIC as Sodium Carbonate

5mg C/L Carbon Verification Set consisting of 1 x 40ml vial each of calibration

blank (RTOCW), 5mg/L (RTOCS04) TOC C as Sucrose and 5 mg/L (RTICN05) TIC

C as Sodium Carbonate

5mg C/L Carbon Standard and Verification Set consisting of 1 x RC120005 and 1

x RC120006

Pack Size

35ml

35ml

35ml

35ml

35ml

35ml

RTOCUSP1

3 x 35ml

RTOCUSP2

3 x 35ml

RTOCUSP4

3 x 35ml

RTOCUSP12

3 x 35ml

RTOCUSP52

3 x 35ml

RTOCUSP260

3 x 35ml

RC120001

11 x 35ml

RC120002

3 x 35ml

RC120003

3 x 35ml

RC120004

6 x 35ml

RC120005

3 x 35ml

RC120006

3 x 35ml

RC120007

6 x 35ml

149

Product No.

RC120008

Description

0.5mg/L Carbon Verification Set consisting of 1 x 40ml vial each of calibration

blank (RTOCW), 0.5mg/L (RTOCS01) TOC C as Sucrose and 0.5mg/L (RTICN01)

TIC C as Sodium Carbonate

1mg/L Carbon Standard and 0.5mg/L Carbon Verification Set Consisting of 1 x

RC120002 and 1 x RC120008

Validation Set -- Accuracy Precision (0.5mg), consisting of 1 x Reagent water

(RTOCW) and 1 x 0.5mg/L C as sucrose (RTOCS01) in 40ml Vials

Validation Set -- Linearity, consisting of 1x Reagent water blank (RTOCW) and 1

each of 0.25mg/L (RTOCS08), 0.5mg/L (RTOCS01), 0.75mg /L (RTOCS09),

C as Sucrose in 40ml vials

Validation Set -- Specificity, consisting of 1 x Reagent water (RTOCW), 1 x

0.5mg/L (RTOCM01) C as Methanol, 1 x 0.5mg/L (RTOCN02) C as Nicotinamide

and 1 x 0.5mg/L (RTOCK08) C as Potassium Hydrogen Phthalate in 40ml vials

Validation Set -- Robustness Standards, consisting of 1 x Reagent water

(RTOCWa), 1 x Standard Solution (RTOCRsa), 1 x System suitability solution

(RTOCRssa) in 40ml vials. All standards in the set acidified

Validation Set -- Complete , consisting of 1xRC120010, 1xRC120011, RC120012

and RC120013

10mg C/L Carbon Standard Set consisting of 1 x 40ml vial each of calibration

blank (RTOCW), 10mg/L (RTOCK11) TOC C as Potassium Hydrogen Phthalate

and 10mg/L (RTICN06) TIC C as Sodium Carbonate

Multipoint calibration set for Sievers 5310C, consisting of 1 x calibration blank

(RTOCW), 1 each of 0.25mg/L (RTOCK15), 1mg/L (RTOCK09), 5mg/L (RTOCK14),

25mg/L (RTOCK12), 50mg/L (RTOCK13) C as Potassium Hydrogen Phthalate

TOC standards and 1 each of 1mg/L (RTICN02), 5mg/L (RTICN05), 10mg/L

(RTICN06), 25mg/L (RTICN07), 50mg/L (RTICN08) C as Sodium Carbonate

TIC standards

2mg C/L Carbon Verification Set consisting of 1 x 40ml vial each of calibration

blank (RTOCW), 2mg/L (RTOCS03) TOC C as Sucrose and 2mg/L (RTICN04) TIC

C as Sodium Carbonate

10mg C/L Carbon Verification Set consisting of 1 x 40ml vial each of calibration

blank (RTOCW), 10mg/L (RTOCS05) TOC C as Sucrose and 10mg/L (RTICN06)

TIC C as Sodium Carbonate

3 point Carbon Verification Set consisting of 1 x 40ml Vial each of 1mg/L

(RTOCK09), 5mg/L (RTOCK14), 10mg/L (RTOCK11) C as Potassium Hydrogen

Phthalate

Pack Size

3 x 35ml

RC120009

6 x 35ml

RC120010

2 x 35ml

RC120011

4 x 35ml

RC120012

4 x 35ml

RC120013

3 x 35ml

RC120014

13 x 35ml

RC120015

3 x 35ml

RC120016

11 x 35ml

RC120017

3 x 35ml

RC120018

3 x 35ml

RC120019

3 x 35ml

150

TOC/TIC Standards

- Quality Range

Summary of Features & Benefits:

Commercial Benefits

• Can be used with any brand of TOC analyser

• Extensive range (5ppm-5000ppm)

• Extended shelf life

• Ready to Use

• The Quality Range represents excellent value

for money

• Other TOC/TIC values can be quoted for upon

request

• Mixed TOC and TIC standards available as a

normal part of the range

Technical Benefits

• Consistency of product - Independent, Traceable,

Certified

• Certificates of Analysis and Safety Data Sheets

available online

• Presented in special 500ml twin neck bottles (all

values above 50ppm) - prevents product

contamination, evaporation or interference

• Twin neck bottles come with a special dosing device

• All values below 50ppm are packed in specially

cleaned and leached 500ml amber glass bottles

TOC Standards

Product No.

TOC5

TOC5W

TOC75

TOC10

TOC15

TOC20

TOC25

TOC30

TOC50

TOC50W

TOC60

TOC100

TOC160

TOC200

TOC250

TOC500

TOC750

TOC1M

TOC15M

TOC2M

TOC5M

Description

Total Organic Carbon Standard 5ppm

Total Organic Carbon Standard 5pm

Total Organic Carbon Standard 7.5ppm

Total Organic Carbon Standard 10ppm

Total Organic Carbon Standard 15ppm

Total Organic Carbon Standard 20ppm

Total Organic Carbon Standard 25ppm

Total Organic Carbon Standard 30ppm

Total Organic Carbon Standard 50ppm

Total Organic Carbon Standard 50ppm

Total Organic Carbon Standard 60ppm

Total Organic Carbon Standard 100ppm

Total Organic Carbon Standard 160ppm

Total Organic Carbon Standard 200ppm

Total Organic Carbon Standard 250ppm

Total Organic Carbon Standard 500ppm

Total Organic Carbon Standard 750ppm

Total Organic Carbon Standard 1000ppm

Total Organic Carbon Standard 1500ppm

Total Organic Carbon Standard 2000ppm

Total Organic Carbon Standard 5000ppm

Pack Size

500ml

2.5L

500ml

500ml

500ml

500ml

500ml

500ml

500ml

2.5L

500ml

500ml

500ml

500ml

500ml

500ml

500ml

500ml

500ml

500ml

500ml

151

TIC Standards

Product No.

TIC5

TIC50

TIC100

TIC200

TIC500

TIC1M

TIC2M

Description

Total Inorganic Carbon Standard 5ppm

Total Inorganic Carbon Standard 50ppm

Total Inorganic Carbon Standard 100ppm

Total Inorganic Carbon Standard 200ppm

Total Inorganic Carbon Standard 500ppm

Total Inorganic Carbon Standard 1000ppm

Total Inorganic Carbon Standard 2000ppm

Pack Size

500ml

500ml

500ml

500ml

500ml

500ml

500ml

Mixed TOC/TIC Standards

Product No.

TOIC10

TOIC100

TOIC1M

TOIC2M

TOIC308

TOIC4M

Description

Mixed Standard (equal conc of organic & inorganic carbon) 10ppm

Mixed Standard (equal conc of organic & inorganic carbon) 100ppm

Mixed Standard (equal conc of organic & inorganic carbon) 1000ppm

Mixed Standard (equal conc of organic & inorganic carbon) 2000ppm

Mixed Standard 30ppm Organic Carbon, 8ppm Inorganic Carbon

Mixed Standard (equal conc of organic & inorganic carbon) 4000ppm

Pack Size

500ml

500ml

500ml

500ml

500ml

500ml

Certificate of Analysis

Carbon Standards

Total Organic Carbon 5ppm

Product No:

Lot No:

Expiry date:

Mean Assay:

Date of measurement:

Specification:

Method:

4.95 - 5.05ppm as TOC

TOC5

TOC516C1

28/03/2017

5.00 ppm as TOC

15/03/2016

Standardised in accordance with in-house method acidimetric.

Reference:

Vogels Textbook of Quantitative Inorganic Analysis. Fifth Edition.

Products are manufactured under an NSAI registered I.S EN ISO9001:2008 Quality System, registration no: 19.2769

Date of issue of the certificate:

15/03/2016

QC Technician Derdre Madigan

Complementary information relative to this product is available at www.reagecon.com

Page 1 of 1.This Certificate must not be reproduced except in full. Rev-16C10

Reagecon Diagnostics Ltd.

Shannon Free Zone, Shannon, Co. Clare, Ireland.

Tel +353 61 472622, Fax: +353 61 472642

Email: sales@reagecon.ie, www.reagecon.com

152

TOC/TIC Standards

- Instrument Specific

Reagecon’s Premium Range of TOC/TIC Standards as detailed in the second last chapter are an independent range

of standards suitable for use on the Sievers® Range of Laboratory TOC/TIC analysers (35ml vials). The Quality Range

as detailed in the previous chapter is suitable for other TOC/TIC analysers available in the market place.

Reagecon offer an extensive range of new independent standards, suitable for use on other leading brands of TOC/

TIC analysers for laboratory and online applications.

Although the range is not totally exhaustive it does include independent standards for Brands listed alphabetically

below such as;

• Analytik Jena®

• Anatel®

• OI Analytical®

• Shimadzu®

• Sievers®

• Teledyne Tekmar®

• Thornton®

These standards are developed, validated, manufactured and tested to an extremely high specification. We believe

that they offer real choice in the market place and represent exceptionally good value.

In addition to the products listed bulk sizes may be available upon request, please contact us with your request by

emailing sales@reagecon.ie

Instrument Specific TOC/TIC Standards

Instrument

Analytik Jena

Analytik Jena

Analytik Jena

Analytik Jena

Analytik Jena

Analytik Jena

Analytik Jena

Anatel A1000

Anatel A1000

Anatel A1000

Anatel A1000

Product

ISTOC1103

ISTOC1104

ISTOC1105

ISTOC1106

ISTOC1107

ISTOC1108

ISTOC1124

ISTOC1030

ISTOC1034

ISTOC1038

ISTOC1046

Description

System Suitability Set to USP; Reagent Water,

0.5mg/L C Sucrose and 0.5mg/L C 1,4- Benzoquinone

System Suitability Set to JP; Reagent Water,

0.5mg/L C Sodium Dodecylbenzene Sulfonate

USP Reagent Water

JP Reagent Water

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

0.5mg/L C from Sodium Dodecylbenzene Sulfonate

Calibration Blank

Calibration Standard 0.25 mg/L C NIST Sucrose

Calibration Standard 0.5 mg/L C NIST Sucrose

Calibration Standard 0.75 mg/L C NIST Sucrose

Pack Size

Kit (3x40ml)

Kit (2x40ml)

40ml

40ml

40ml

40ml

40ml

1L

1L

1L

1L

153

Instrument

Anatel A1000

Anatel A643

Anatel A643

Anatel A643

Product

ISTOC1165

ISTOC1016

ISTOC1079

ISTOC1080

Description

System Suitability Set to USP; Reagent Water, 0.5mg/L C

Sucrose and 0.5mg/L C 1,4- Benzoquinone

100uS/cm Conductivity Standard for Calibration

Calibration Blank

System Suitability Set; 2 x Reagent Water, 0.5mg/L C

USP Sucrose, 0.5mg/L C 1,4- Benzoquinone and

0.25mg/L C NIST Sucrose as Check

Calibration Standard 0.25 mg/L C NIST Sucrose

Calibration Standard 0.5 mg/L C NIST Sucrose

Calibration Standard 0.75 mg/L C NIST Sucrose

Validation Set; 2 x Blanks, 0.25 mg/L C NIST Sucrose, 0.5

mg/L C NIST Sucrose and 0.75 mg/L C NIST Sucrose

Validation Kit; 2 x Blanks and 0.5 mg/L C NIST Sucrose

Calibration Blank

Calibration Standard 0.25 mg/L C NIST Sucrose

Calibration Standard 0.5 mg/L C NIST Sucrose

Calibration Standard 0.75 mg/L C NIST Sucrose

USP Reagent Water System Suitability Standard

0.5mg/L C from USP Sucrose System

Suitability Standard

0.5mg/L C from USP 1,4 Benzoquinone System

Suitability Standard

USP System Suitability Set; Reagent Water, 0.5mg/L C

Sucrose and 0.5mg/L C 1,4- Benzoquinone

100uS/cm Conductivity Standard for Calibration

Validation Kit; 2 x Blanks and 0.5 mg/L C NIST Sucrose

100uS/cm Conductivity Standard for Calibration

Calibration Blank

Calibration Standard 0.25 mg/L C NIST Sucrose

Calibration Standard 0.5 mg/L C NIST Sucrose

Calibration Standard 0.75 mg/L C NIST Sucrose

Calibration Blank

Calibration Standard 0.25 mg/L C NIST Sucrose

Calibration Standard 0.5 mg/L C NIST Sucrose

Calibration Standard 0.75 mg/L C NIST Sucrose

USP System Suitability Set; Reagent Water, 0.5mg/L C

Sucrose and 0.5mg/L C 1,4- Benzoquinone

Calibration Kit; Blank, 0.25mg/L C NIST Sucrose, 0.5

mg/L C NIST Sucrose and 0.75mg/L C NIST Sucrose

Validation Kit; Blank and 0.5mg/L C NIST Sucrose

Reagent Water, 0.5 mg/L C from USP Sucrose and 0.5

mg/L C USP 1,4- Benzoquinone

USP System Suitability Kit;Reagent Water,

0.5 mg/L C from USP Sucrose and 0.5 mg/L C USP

1,4- Benzoquinone

USP Reagent Water

Pack Size

Kit (3x1L)

60ml

60ml

Kit (5x60ml)

Anatel A643

Anatel A643

Anatel A643

Anatel A643

Anatel A643

Anatel PAT700

Anatel PAT700

Anatel PAT700

Anatel PAT700

Anatel PAT700

Anatel PAT700

Anatel PAT700

Anatel PAT700

Anatel PAT700

Anatel PAT700

Anatel TOC600

Anatel TOC600

Anatel TOC600

Anatel TOC600

Anatel TOC600

Anatel TOC600

Anatel TOC600

Anatel TOC600

Anatel TOC600

Anatel TOC600

Anatel TOC600

Anatel TOC600

Comet Analytics

Horiba

ISTOC1081

ISTOC1082

ISTOC1083

ISTOC1166

ISTOC1169

ISTOC1001

ISTOC1002

ISTOC1003

ISTOC1004

ISTOC1005

ISTOC1006

ISTOC1007

ISTOC1009

ISTOC1015

ISTOC1171

ISTOC1014

ISTOC1021

ISTOC1031

ISTOC1035

ISTOC1039

ISTOC1079

ISTOC1081

ISTOC1082

ISTOC1083

ISTOC1123

ISTOC1167

ISTOC1170

ISTOC1133

ISTOC1176

60ml

60ml

60ml

Kit (5x60ml)

Kit (3x60ml)

60ml

60ml

60ml

60ml

60ml

60ml

60ml

Kit (3x60ml)

40ml

Kit (3x60ml)

125ml

125ml

125ml

125ml

125ml

60ml

60ml

60ml

60ml

Kit (3x125ml)

Kit (3x60ml)

Kit (2x60ml)

Kit (3x250ml)

Kit (3x1L)

Horiba

ISTOC1200

1L

154

Instrument

Horiba

Horiba

Lighthouse

Lighthouse

Membrapure

Product

ISTOC1201

ISTOC1202

ISTOC1160

ISTOC1166

ISTOC1177

Description

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

USP System Suitability Kit; 2 x Reagent Water, 0.5mg/L

C Sucrose and 0.5mg/L C 1,4- Benzoquinone

Validation Set; 2 x Blanks, 0.25 mg/L C NIST Sucrose, 0.5

mg/L C NIST Sucrose and 0.75 mg/L C NIST Sucrose

USP System Suitability Kit;Reagent Water,

0.5 mg/L C from USP Sucrose and 0.5 mg/L C USP

1,4- Benzoquinone

TOC Standard USP Reagent Water Rw

TOC Standard USP Standard Sucrose Solution Rs

(0.5mg/L C)

TOC Standard USP System Suitability Solution 1

4-Benzoquinone (0.5mg/L C)

Membrapure USP Calibration Kit; Reagent water,

1.0 mg/L C USP Sucrose

TOC Standard USP Standard Sucrose Solution

(1.0 mg/L C)

TOC/TIC Calibration Blank

Calibration Standard 0.5mg/L C NIST KHP

Calibration Standard 1mg/L C NIST KHP

Calibration Standard 5mg/L C NIST KHP

Calibration Standard 10mg/L C NIST KHP

Calibration Standard 25mg/L C NIST KHP

Calibration Standard 50mg/L C NIST KHP

System Suitability Set to JP; Reagent Water and 0.5mg/L

C from Sodium Dodecylbenzene Sulfonate

JP Water

USP Reagent Water

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

Individual TOC/TIC Calibration Blank

Validation Kit for TOC contains a blank and 2 x 100mg/L

C NIST KHP

Validation Kit for TOC contains a blank and

2 x 10mg/L C NIST KHP

Validation Kit for Wet Chemistry TOC contains

3 x blanks, 2 x 0.5 mg/L C NIST KHP and

1mg/L C NIST KHP

Calibration Kit; 2 x blanks, 2 x 0.1 mg/L C NIST KHP,

2 X 0.25 mg/L C NIST KHP, 2 X 0.5 mg/L C NIST KHP,

0.75mg/L C NIST KHP and 1mg/L C NIST KHP

Calibration Standard 0.1mg/L C NIST KHP

Calibration Standard 0.25mg/L C NIST KHP

Calibration Standard 0.5mg/L C NIST KHP

Calibration Standard 0.75mg/L C NIST KHP

Calibration Standard 1mg/L C NIST KHP

Pack Size

1L

1L

Kit (3x60ml)

Kit (5x60ml)

Kit (3x500ml)

Membrapure

Membrapure

Membrapure

Membrapure

Membrapure

OI Analytical

OI Analytical

OI Analytical

OI Analytical

OI Analytical

OI Analytical

OI Analytical

OI Analytical

OI Analytical

OI Analytical

OI Analytical

OI Analytical

Shimazdu

Shimazdu

Shimazdu

Shimazdu

RTOCW500

RTOCRS500

RTOCRSS500

ISTOC1178

RTOCRS1

ISTOC1018

ISTOC1059

ISTOC1065

ISTOC1070

ISTOC1072

ISTOC1074

ISTOC1076

ISTOC1104

ISTOC1106

ISTOC1110

ISTOC1111

ISTOC1112

ISTOC1018

ISTOC1041

ISTOC1042

ISTOC1043

500ml

500ml

500ml

Kit (2x500ml)

500ml

40ml

40ml

40ml

40ml

40ml

40ml

40ml

Kit (2x40ml)

40ml

40ml

40ml

40ml

40ml

Kit (3x125ml)

Kit (3x125ml)

Kit (6x40ml)

Shimazdu

ISTOC1044

Kit (10x40ml)

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

ISTOC1054

ISTOC1055

ISTOC1059

ISTOC1064

ISTOC1065

40ml

40ml

40ml

40ml

40ml

155

Instrument

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Shimazdu

Swan Analytical

Swan Analytical

Swan Analytical

Swan Analytical

Swan Analytical

Swan Analytical

Swan Analytical

Swan Analytical

Swan Analytical

Swan Analytical

Swan Analytical

Product

ISTOC1070

ISTOC1072

ISTOC1074

ISTOC1076

ISTOC1104

ISTOC1106

ISTOC1110

ISTOC1111

ISTOC1112

ISTOC1118

ISTOC1120

ISTOC1121

ISTOC1125

ISTOC1126

ISTOC1127

ISTOC1128

ISTOC1139

ISTOC1140

ISTOC1141

ISTOC1142

ISTOC1153

ISTOC1154

ISTOC1155

ISTOC1156

ISTOC1133

ISTOC1186

ISTOC1185

ISTOC1188

ISTOC1187

ISTOC1182

ISTOC1181

ISTOC1179

ISTOC1183

ISTOC1184

ISTOC1180

Description

Calibration Standard 5mg/L C NIST KHP

Calibration Standard 10mg/L C NIST KHP

Calibration Standard 25mg/L C NIST KHP

Calibration Standard 50mg/L C NIST KHP

System Suitability Set to JP; Reagent Water and 0.5mg/L

C from Sodium Dodecylbenzene Sulfonate

JP Reagent Water

USP Reagent Water

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

USP Reagent Water

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

USP Reagent Water

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

USP System Suitability Set; Reagent Water, 0.5mg/L C

Sucrose and 0.5mg/L C 1,4- Benzoquinone

USP System Suitability Set; Reagent Water, 0.5mg/L C

Sucrose and 0.5mg/L C 1,4- Benzoquinone

USP Reagent Water

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

USP System Suitability Set; Reagent Water, 0.5mg/L C

Sucrose and 0.5mg/L C 1,4- Benzoquinone

USP Reagent Water

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

Reagent Water, 0.5 mg/L C from USP Sucrose and 0.5

mg/L C USP 1,4- Benzoquinone

Swan AMI LineTOC 0.5 mg/L C USP 1,4- Benzoquinone

Swan AMI LineTOC 0.5 mg/L C USP Sucrose

Swan AMI LineTOC 20 mg/L C USP 1,4- Benzoquinone

Swan AMI LineTOC 20 mg/L C USP Sucrose

Swan AMI LineTOC Calibration Standard 1 mg/L C

Sucrose

Swan AMI LineTOC FT Kit; TOC Standard 20 mg/L C as

Sucrose, 20 mg/L C as 1,4- Benzoquinone

Swan AMI LineTOC USP Calibration Kit; Reagent Water,

1.0 mg/L C USP Sucrose

Swan AMI LineTOC USP Reagent Water

Swan AMI LineTOC USP Reagent Water

Swan AMI LineTOC USP SST Kit; Reagent Water,

0.5 mg/L C USP Sucrose, 0.5 mg/L C USP 1,4

-Benzoquinone

Pack Size

40ml

40ml

40ml

40ml

Kit (2x40ml)

40ml

40ml

40ml

40ml

125ml

125ml

125ml

250ml

250ml

250ml

Kit (3x250ml)

Kit (3x500ml)

500ml

500ml

500ml

Kit (3x1L)

1L

1L

1L

Kit (3x250ml)

125ml

125ml

125ml

125ml

250ml

Kit (2x125ml)

Kit (2x250ml)

250ml

125ml

Kit (3x125ml)

156

Instrument

Swan Analytical

Swan Analytical

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Product

ISTOC1195

ISTOC1196

ISTOC1018

ISTOC1020

ISTOC1059

ISTOC1061

ISTOC1065

ISTOC1067

ISTOC1070

ISTOC1071

ISTOC1072

ISTOC1073

ISTOC1074

ISTOC1075

ISTOC1076

ISTOC1077

ISTOC1088

Description

Swan AMI LineTOC 0.5 mg/L C USP 1,4- Benzoquinone

Swan AMI LineTOC 0.5 mg/L C USP Sucrose

Individual TOC/TIC Calibration Blank

Individual TOC/TIC Calibration Blank

Calibration Standard 0.5mg/L C NIST KHP

Calibration Standard 0.5mg/L C NIST KHP

Calibration Standard 1mg/L C NIST KHP

Calibration Standard 1mg/L C NIST KHP

Calibration Standard 5mg/L C NIST KHP

Calibration Standard 5mg/L C NIST KHP

Calibration Standard 10mg/L C NIST KHP

Calibration Standard 10mg/L C NIST KHP

Calibration Standard 25mg/L C NIST KHP

Calibration Standard 25mg/L C NIST KHP

Calibration Standard 50mg/L C NIST KHP

Calibration Standard 50mg/L C NIST KHP

Ultra Low-Level TOC Kit; 3 x TOC Water Blanks,

9 TOC Standards (0.05, 0.06, 0.07, 0.08, 0.09, 0.1, 0.25,

0.5 and 1mg/L C) from NIST KHP

System Suitability Set to JP; Reagent Water and 0.5mg/L

C from Sodium Dodecylbenzene Sulfonate

JP Reagent Water

USP Reagent Water

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

USP System Suitability Kit;Reagent Water,

0.5 mg/L C from USP Sucrose and 0.5 mg/L C USP

1,4- Benzoquinone

USP Reagent Water

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

Calibration Blank

Calibration Standard 0.25 mg/L C NIST Sucrose

Calibration Standard 0.5 mg/L C NIST Sucrose

Calibration Kit; 2 x Calibration Blanks, 0.25 mg/L C

Sucrose and 0.5 mg/L C Sucrose

Calibration Standard 1.25 mg/L C NIST Sucrose

USP Reagent Water

0.5mg/L C from USP Sucrose

0.5mg/L C from USP 1,4 - Benzoquinone

USP System Suitability Kit;Reagent Water,

0.5 mg/L C from USP Sucrose and 0.5 mg/L C USP

1,4- Benzoquinone

Pack Size

250ml

250ml

40ml

125ml

40ml

125ml

40ml

125ml

40ml

125ml

40ml

125ml

40ml

125ml

40ml

125ml

Kit (12x40ml)

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

ISTOC1104

ISTOC1106

ISTOC1110

ISTOC1111

ISTOC1112

ISTOC1113

Kit (2x40ml)

40ml

40ml

40ml

40ml

Kit (3x125ml)

Teledyne Tekmar

Teledyne Tekmar

Teledyne Tekmar

Thronton 5000

Thronton 5000

Thronton 5000

Thronton 5000

Thronton 5000

Thronton 5000

Thronton 5000

Thronton 5000

Thronton 5000

ISTOC1118

ISTOC1120

ISTOC1121

ISTOC1047

ISTOC1048

ISTOC1049

ISTOC1050

ISOTC1053

ISTOC1144

ISTOC1145

ISTOC1146

ISTOC1148

125ml

125ml

125ml

500ml

500ml

500ml

Kit (4x500ml)

500ml

500ml

500ml

500ml

Kit (3x500ml)

157